## 📊 Summary
🏥 PancreaScan Medical AI Platform — Master E2E Test Report
Generated: 2026-06-17 09:13:37 ¦ Framework: Selenium + Appium + pytest ¦ Suites: API · Unit · Mobile · Web · Functional · Security
Total Cases | ✅ Passed | ❌ Failed | ⏭ Skipped | 💥 Errors | Pass Rate
260 | 249 | 0 | 11 | 0 | 95.8%
Test Suite Breakdown
Suite / Layer | Total | ✅ Pass | ❌ Fail | ⏭ Skip | Pass %
API | 70 | 70 | 0 | 0 | 100%
Functional | 50 | 50 | 0 | 0 | 100%
Mobile | 30 | 19 | 0 | 11 | 63%
Unit | 30 | 30 | 0 | 0 | 100%
Web | 80 | 80 | 0 | 0 | 100%
✅ DEPLOYABLE — 249/260 tests passed (95.8%). All checks green.

## 📋 All Test Cases
PancreaScan — Complete Test Case Register (260 Test Cases)
TC ID | Test Name | Suite | Type | Description / Expectation | Status | Details | Remarks
TC-001 | Server Health Check | API | Functional | Server root returns 200 OK with running message | ✅ PASS | All assertions met | All assertions met
TC-002 | Database Health Endpoint | API | Functional | /health returns DB connection status | ✅ PASS | All assertions met | All assertions met
TC-003 | Register New User | API | Functional | New user registration returns JWT token with 200 | ✅ PASS | All assertions met | All assertions met
TC-004 | Duplicate Email Rejected | API | Validation | Duplicate email registration returns 400 | ✅ PASS | All assertions met | All assertions met
TC-005 | Register Empty Name | API | Validation | Empty name in register returns 400/422 | ✅ PASS | All assertions met | All assertions met
TC-006 | Short Password Rejected | API | Validation | Password < 6 chars is rejected — not 500 | ✅ PASS | All assertions met | All assertions met
TC-007 | Valid Login Success | API | Functional | Valid credentials return access_token | ✅ PASS | All assertions met | All assertions met
TC-008 | Wrong Password Returns 401 | API | Security | Wrong password returns 401 Unauthorized | ✅ PASS | All assertions met | All assertions met
TC-009 | Unknown Email Returns 401 | API | Security | Non-existent email login returns 401 | ✅ PASS | All assertions met | All assertions met
TC-010 | Login Returns User Fields | API | Functional | Login response includes name, email, id | ✅ PASS | All assertions met | All assertions met
TC-011 | Get Profile Authenticated | API | Functional | GET /auth/me with valid token returns user profile | ✅ PASS | All assertions met | All assertions met
TC-012 | Get Profile No Token | API | Security | GET /auth/me without token returns 401/403 | ✅ PASS | All assertions met | All assertions met
TC-013 | Get Profile Invalid Token | API | Security | GET /auth/me with garbage token returns 401 | ✅ PASS | All assertions met | All assertions met
TC-014 | Update Profile Name | API | Functional | PUT /auth/me updates user name field | ✅ PASS | All assertions met | All assertions met
TC-015 | Update Organization | API | Functional | Profile update with organization field succeeds | ✅ PASS | All assertions met | All assertions met
TC-016 | Update Role Field | API | Functional | Profile update with role = Medical Coder succeeds | ✅ PASS | All assertions met | All assertions met
TC-017 | Update Department | API | Functional | Profile update with department field succeeds | ✅ PASS | All assertions met | All assertions met
TC-018 | Update Multiple Fields | API | Functional | Profile update with multiple fields at once succeeds | ✅ PASS | All assertions met | All assertions met
TC-019 | Update Empty Body | API | Validation | PUT with empty body returns success | ✅ PASS | All assertions met | All assertions met
TC-020 | Forgot Password Unknown | API | Validation | Forgot-password with unknown email returns 404 | ✅ PASS | All assertions met | All assertions met
TC-021 | Upload Without Token | API | Security | Upload without auth token returns 401/403 | ✅ PASS | All assertions met | All assertions met
TC-022 | Upload Valid PDF | API | Functional | Authenticated PDF upload returns 200 and report_id | ✅ PASS | All assertions met | All assertions met
TC-023 | Upload TXT Report | API | Functional | Upload .txt discharge summary returns 200 | ✅ PASS | All assertions met | All assertions met
TC-024 | Upload Report Type Radiology | API | Functional | Upload with report_type=radiology accepted | ✅ PASS | All assertions met | All assertions met
TC-025 | Upload No File Error | API | Validation | Upload without file attached returns 400/422 | ✅ PASS | All assertions met | All assertions met
TC-026 | Upload Wrong MIME Type | API | Validation | Uploading PNG file is handled gracefully — not 500 | ✅ PASS | All assertions met | All assertions met
TC-027 | Upload Response Has ID | API | Functional | Upload response body contains report_id or id | ✅ PASS | All assertions met | All assertions met
TC-028 | Upload Response Time | API | Performance | Upload + processing completes within 60 seconds | ✅ PASS | All assertions met | All assertions met
TC-029 | Upload OPD Report Type | API | Functional | Upload with report_type=opd is accepted | ✅ PASS | All assertions met | All assertions met
TC-030 | Upload Operative Notes | API | Functional | Operative notes upload is accepted | ✅ PASS | All assertions met | All assertions met
TC-031 | Dashboard Stats Auth | API | Functional | Dashboard stats endpoint returns 200 for authenticated user | ✅ PASS | All assertions met | All assertions met
TC-032 | Stats Required Keys | API | Functional | Dashboard stats includes expected keys | ✅ PASS | All assertions met | All assertions met
TC-033 | Stats Unauthenticated | API | Security | Dashboard stats without token returns 401/403 | ✅ PASS | All assertions met | All assertions met
TC-034 | Reports History List | API | Functional | /reports/history returns a list or dict | ✅ PASS | All assertions met | All assertions met
TC-035 | History Limit Respected | API | Functional | History with limit=3 returns at most 3 records | ✅ PASS | All assertions met | All assertions met
TC-036 | Alerts Endpoint | API | Functional | /reports/alerts returns 200 or 404 | ✅ PASS | All assertions met | All assertions met
TC-037 | User Stats Endpoint | API | Functional | /reports/user-stats endpoint accessible | ✅ PASS | All assertions met | All assertions met
TC-038 | Stats Not 500 | API | Functional | Stats endpoint never returns 500 | ✅ PASS | All assertions met | All assertions met
TC-039 | History Without Token | API | Security | History endpoint without token returns 401 | ✅ PASS | All assertions met | All assertions met
TC-040 | Concurrent Stats Requests | API | Performance | 3 simultaneous stats requests all return 200 | ✅ PASS | All assertions met | All assertions met
TC-041 | SQL Injection Email | API | Security | SQL injection in email field safely rejected | ✅ PASS | All assertions met | All assertions met
TC-042 | SQL Injection Password | API | Security | SQL injection in password safely handled | ✅ PASS | All assertions met | All assertions met
TC-043 | XSS in Profile Name | API | Security | XSS payload in name stored safely — not 500 | ✅ PASS | All assertions met | All assertions met
TC-044 | Very Long Email | API | Validation | 300-char email string handled safely — not 500 | ✅ PASS | All assertions met | All assertions met
TC-045 | Empty Login Payload | API | Validation | Empty JSON body on login returns 422 | ✅ PASS | All assertions met | All assertions met
TC-046 | Login No Password | API | Validation | Login without password field returns 422 | ✅ PASS | All assertions met | All assertions met
TC-047 | Login No Email | API | Validation | Login without email field returns 422 | ✅ PASS | All assertions met | All assertions met
TC-048 | Token Not In Header | API | Security | JWT token not exposed in response headers | ✅ PASS | All assertions met | All assertions met
TC-049 | Form Data Instead of JSON | API | Validation | Form-data instead of JSON to login returns error | ✅ PASS | All assertions met | All assertions met
TC-050 | Response Content Type JSON | API | Functional | API responses have Content-Type: application/json | ✅ PASS | All assertions met | All assertions met
TC-051 | MIME .pdf Maps Correctly | Unit | Unit | .pdf extension maps to application/pdf | ✅ PASS | All assertions met | All assertions met
TC-052 | MIME .docx Maps Correctly | Unit | Unit | .docx maps to wordprocessingml MIME type | ✅ PASS | All assertions met | All assertions met
TC-053 | MIME .doc Maps Correctly | Unit | Unit | .doc maps to application/msword | ✅ PASS | All assertions met | All assertions met
TC-054 | MIME .txt Maps Correctly | Unit | Unit | .txt maps to text/plain | ✅ PASS | All assertions met | All assertions met
TC-055 | MIME Unknown Defaults | Unit | Unit | Unknown extension defaults to application/pdf | ✅ PASS | All assertions met | All assertions met
TC-056 | MIME Uppercase Handled | Unit | Unit | Uppercase .PDF extension maps correctly | ✅ PASS | All assertions met | All assertions met
TC-057 | MIME No Extension | Unit | Unit | Filename with no extension defaults to PDF | ✅ PASS | All assertions met | All assertions met
TC-058 | MIME Multiple Dots | Unit | Unit | File with multiple dots uses last segment | ✅ PASS | All assertions met | All assertions met
TC-059 | MIME Empty Filename | Unit | Unit | Empty filename defaults to PDF mime | ✅ PASS | All assertions met | All assertions met
TC-060 | MIME TXT Not PDF | Unit | Unit | .txt MIME is not application/pdf | ✅ PASS | All assertions met | All assertions met
TC-061 | Password Same Hash | Unit | Unit | Same password always produces same SHA-256 hash | ✅ PASS | All assertions met | All assertions met
TC-062 | Password Different Hashes | Unit | Unit | Different passwords produce different hashes | ✅ PASS | All assertions met | All assertions met
TC-063 | Hash Is 64 Char Hex | Unit | Unit | SHA-256 hash is always 64 hex characters | ✅ PASS | All assertions met | All assertions met
TC-064 | Hash Case Sensitive | Unit | Unit | Password hashing is case-sensitive | ✅ PASS | All assertions met | All assertions met
TC-065 | Empty Password Hash Valid | Unit | Unit | Empty string password produces valid 64-char hash | ✅ PASS | All assertions met | All assertions met
TC-066 | File Size Under 1MB = KB | Unit | Unit | File under 1 MB is displayed in KB | ✅ PASS | All assertions met | All assertions met
TC-067 | File Size Over 1MB = MB | Unit | Unit | File over 1 MB is displayed in MB | ✅ PASS | All assertions met | All assertions met
TC-068 | File Size Exactly 1MB | Unit | Unit | Exactly 1 MB + 1 byte shown as MB | ✅ PASS | All assertions met | All assertions met
TC-069 | File Size 0 Bytes | Unit | Unit | Zero-byte file returns '0 KB' | ✅ PASS | All assertions met | All assertions met
TC-070 | File Size 1KB | Unit | Unit | 1024 byte file shows as 1 KB | ✅ PASS | All assertions met | All assertions met
TC-071 | ICD-10 Code I10 Valid | Unit | Unit | I10 matches ICD-10 regex pattern | ✅ PASS | All assertions met | All assertions met
TC-072 | ICD-10 Code E11.9 Valid | Unit | Unit | E11.9 matches ICD-10 pattern | ✅ PASS | All assertions met | All assertions met
TC-073 | ICD-10 Lowercase Invalid | Unit | Unit | Lowercase icd code fails ICD-10 pattern | ✅ PASS | All assertions met | All assertions met
TC-074 | CPT 5-Digit Valid | Unit | Unit | 93000 matches CPT 5-digit pattern | ✅ PASS | All assertions met | All assertions met
TC-075 | CPT 4-Digit Invalid | Unit | Unit | 4-digit CPT code fails pattern | ✅ PASS | All assertions met | All assertions met
TC-076 | Greeting Hour 0 | Unit | Unit | Hour 0 returns 'Good morning' | ✅ PASS | All assertions met | All assertions met
TC-077 | Greeting Hour 11 | Unit | Unit | Hour 11 returns 'Good morning' | ✅ PASS | All assertions met | All assertions met
TC-078 | Greeting Hour 12 | Unit | Unit | Hour 12 returns 'Good afternoon' | ✅ PASS | All assertions met | All assertions met
TC-079 | Greeting Hour 16 | Unit | Unit | Hour 16 returns 'Good afternoon' | ✅ PASS | All assertions met | All assertions met
TC-080 | Greeting Hour 17 | Unit | Unit | Hour 17 returns 'Good evening' | ✅ PASS | All assertions met | All assertions met
TC-081 | App Launches Successfully | Mobile | UI/UX | App launches without crash and shows initial screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-082 | Splash or Login Visible | Mobile | UI/UX | After launch, splash or login screen is visible | ✅ PASS | All assertions met | All assertions met
TC-083 | Email Input Present | Mobile | UI/UX | Login screen has an Email input field | ✅ PASS | All assertions met | All assertions met
TC-084 | Password Input Present | Mobile | UI/UX | Login screen has at least 2 input fields | ✅ PASS | All assertions met | All assertions met
TC-085 | Empty Login Alert | Mobile | Validation | Tapping Login with empty fields shows alert | ✅ PASS | All assertions met | All assertions met
TC-086 | Email Field Accepts Text | Mobile | UI/UX | Email field accepts text input | ✅ PASS | All assertions met | All assertions met
TC-087 | Password Field Accepts Text | Mobile | UI/UX | Password field accepts text input | ✅ PASS | All assertions met | All assertions met
TC-088 | Forgot Password Link | Mobile | UI/UX | Forgot Password? text visible on login screen | ✅ PASS | All assertions met | All assertions met
TC-089 | Sign Up Link Visible | Mobile | UI/UX | Sign Up link is visible | ✅ PASS | All assertions met | All assertions met
TC-090 | Login Button Tappable | Mobile | UI/UX | Login button exists and is tappable | ✅ PASS | All assertions met | All assertions met
TC-091 | Navigate to Signup | Mobile | Functional | Tapping Sign Up navigates to Signup screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-092 | Signup Name Field | Mobile | UI/UX | Signup screen has a Full Name field | ✅ PASS | All assertions met | All assertions met
TC-093 | Password Mismatch Alert | Mobile | Validation | Signup with mismatched passwords shows alert | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-094 | Role Selection Visible | Mobile | UI/UX | Role selection options are visible on signup | ✅ PASS | All assertions met | All assertions met
TC-095 | Back to Login | Mobile | Functional | Back navigation returns to login screen | ✅ PASS | All assertions met | All assertions met
TC-096 | Dashboard Tab Bar Visible | Mobile | UI/UX | After login, bottom tab bar visible | ✅ PASS | All assertions met | All assertions met
TC-097 | Upload Tab Navigation | Mobile | Functional | Tapping Upload tab navigates to Upload screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-098 | Alerts Tab Navigation | Mobile | Functional | Tapping Alerts tab navigates to Alerts screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-099 | Profile Tab Navigation | Mobile | Functional | Tapping Profile tab navigates to Profile screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-100 | Back Press No Crash | Mobile | Functional | Back button press does not crash the app | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-101 | Upload Dropzone Present | Mobile | UI/UX | Upload screen shows file drop zone | ✅ PASS | All assertions met | All assertions met
TC-102 | Report Type Chips Visible | Mobile | UI/UX | Report type selection chips are visible | ✅ PASS | All assertions met | All assertions met
TC-103 | Analyse Button Visible | Mobile | UI/UX | Analyse with AI button is visible | ✅ PASS | All assertions met | All assertions met
TC-104 | Analyse No File Alert | Mobile | Validation | Tapping Analyse without file shows No file alert | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-105 | Info Box Text Visible | Mobile | UI/UX | Info box about AI analysis visible | ✅ PASS | All assertions met | All assertions met
TC-106 | Results Codes Found | Mobile | Functional | Results screen shows Codes found summary pill | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-107 | Dashboard Reports Today | Mobile | UI/UX | Dashboard shows Reports today stat card | ✅ PASS | All assertions met | All assertions met
TC-108 | Dashboard Codes Found | Mobile | UI/UX | Dashboard shows Codes found stat card | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-109 | Logout Button Accessible | Mobile | UI/UX | Logout icon is accessible from Dashboard | ✅ PASS | All assertions met | All assertions met
TC-110 | Scroll No Crash | Mobile | Functional | Scrolling the dashboard does not crash the app | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Server/device offline
TC-111 | Root API Message | API | Deployability | Root / returns running message | ✅ PASS | All assertions met | All assertions met
TC-112 | Health Check Status OK | API | Deployability | Health check indicates deployable state | ✅ PASS | All assertions met | All assertions met
TC-113 | Server Response < 2s | API | Performance | Root endpoint responds in under 2 seconds | ✅ PASS | All assertions met | All assertions met
TC-114 | Register Response Shape | API | Functional | Register response has access_token, token_type, user | ✅ PASS | All assertions met | All assertions met
TC-115 | Token Type is Bearer | API | Functional | Login token_type is 'bearer' | ✅ PASS | All assertions met | All assertions met
TC-116 | CORS Headers Present | API | Functional | CORS allow-origin header present | ✅ PASS | All assertions met | All assertions met
TC-117 | 422 Has Validation Key | API | Validation | 422 responses include validation detail key | ✅ PASS | All assertions met | All assertions met
TC-118 | User Has ID and Email | API | Functional | Registered user object contains id and email | ✅ PASS | All assertions met | All assertions met
TC-119 | Login 200 for Valid User | API | Functional | Valid credentials login returns 200 OK | ✅ PASS | All assertions met | All assertions met
TC-120 | Update Returns User Object | API | Functional | Profile update response includes updated user object | ✅ PASS | All assertions met | All assertions met
TC-121 | Pending Reviews Accessible | API | Functional | /reviews/pending endpoint returns 200 or 404 | ✅ PASS | All assertions met | All assertions met
TC-122 | Reviews Not 500 | API | Functional | /reviews/pending never returns 500 | ✅ PASS | All assertions met | All assertions met
TC-123 | Approve Nonexistent Review | API | Validation | Approving non-existent review ID returns 404/422 | ✅ PASS | All assertions met | All assertions met
TC-124 | Reject Nonexistent Review | API | Validation | Rejecting non-existent review ID returns 404/422 | ✅ PASS | All assertions met | All assertions met
TC-125 | AI Assistant Reachable | API | Functional | AI assistant /assistant/chat endpoint is reachable | ✅ PASS | All assertions met | All assertions met
TC-126 | Assistant Empty Message | API | Validation | AI assistant with empty message returns validation error | ✅ PASS | All assertions met | All assertions met
TC-127 | Results Nonexistent Report | API | Validation | Fetching results for non-existent report ID returns 404 | ✅ PASS | All assertions met | All assertions met
TC-128 | Flag Nonexistent Report | API | Validation | Flagging a non-existent report returns 404 | ✅ PASS | All assertions met | All assertions met
TC-129 | Malformed JSON No 500 | API | Security | Malformed JSON body doesn't crash server — never 500 | ✅ PASS | All assertions met | All assertions met
TC-130 | 5 Sequential Logins | API | Performance | 5 sequential logins for same user all return 200 | ✅ PASS | All assertions met | All assertions met
TC-S001 | Site Loads Successfully | Web | UI/UX | Navigating to base URL does not throw an error | ✅ PASS | All assertions met | All assertions met
TC-S002 | Page Title Not Empty | Web | UI/UX | The HTML <title> tag is present and non-empty | ✅ PASS | All assertions met | All assertions met
TC-S003 | Page Title Contains App Name | Web | UI/UX | Title or page source references the app/brand name | ✅ PASS | All assertions met | All assertions met
TC-S004 | HTML Lang Attribute Present | Web | Accessibility | <html lang> attribute is present | ✅ PASS | All assertions met | All assertions met
TC-S005 | Viewport Meta Tag Present | Web | UI/UX | <meta name=viewport> present for mobile responsiveness | ✅ PASS | All assertions met | All assertions met
TC-S006 | No JS Errors on Load | Web | Functional | Browser console has no critical JS errors on load | ✅ PASS | All assertions met | All assertions met
TC-S007 | Page Responds Within 5s | Web | Performance | Page fully loads within 5 seconds | ✅ PASS | All assertions met | All assertions met
TC-S008 | Root Element Present | Web | UI/UX | A root container element exists in the DOM | ✅ PASS | All assertions met | All assertions met
TC-S009 | Page Has Meaningful Content | Web | UI/UX | Page renders more than boilerplate — has visible text | ✅ PASS | All assertions met | All assertions met
TC-S010 | No 404 or 500 Error Page | Web | Functional | Page does not display 404/500 error text | ✅ PASS | All assertions met | All assertions met
TC-S011 | Login Screen Visible | Web | UI/UX | After load, login or authentication screen is visible | ✅ PASS | All assertions met | All assertions met
TC-S012 | Email Input Field Exists | Web | UI/UX | An email / username input field is present | ✅ PASS | All assertions met | All assertions met
TC-S013 | Password Input Exists | Web | UI/UX | A password input field is present on login screen | ✅ PASS | All assertions met | All assertions met
TC-S014 | Login Button Visible | Web | UI/UX | A Login/Sign In button is present | ✅ PASS | All assertions met | All assertions met
TC-S015 | Forgot Password Link | Web | UI/UX | 'Forgot Password' link / text is present | ✅ PASS | All assertions met | All assertions met
TC-S016 | Signup Link Exists | Web | UI/UX | A 'Sign Up' or 'Create Account' link is present | ✅ PASS | All assertions met | All assertions met
TC-S017 | Login Form Not 500 | Web | Functional | Login page does not display server error | ✅ PASS | All assertions met | All assertions met
TC-S018 | Page Renders Within 8s | Web | Performance | Auth screen content visible within 8 seconds | ✅ PASS | All assertions met | All assertions met
TC-S019 | Logo or Branding Present | Web | UI/UX | App logo or brand name visible on login screen | ✅ PASS | All assertions met | All assertions met
TC-S020 | No Blank Screen After Load | Web | UI/UX | Screen is not entirely blank after JS execution | ✅ PASS | All assertions met | All assertions met
TC-S021 | Registration Route Accessible | Web | Functional | Navigating to /register or signup route succeeds | ✅ PASS | All assertions met | All assertions met
TC-S022 | Registration Page Not 404 | Web | Functional | Registration page does not return 404 | ✅ PASS | All assertions met | All assertions met
TC-S023 | Name Field on Registration | Web | UI/UX | Registration page has a Full Name field | ✅ PASS | All assertions met | All assertions met
TC-S024 | Email Field on Registration | Web | UI/UX | Registration page has an Email field | ✅ PASS | All assertions met | All assertions met
TC-S025 | Password Fields on Register | Web | UI/UX | Registration page has Password fields | ✅ PASS | All assertions met | All assertions met
TC-S026 | Role Selection on Register | Web | UI/UX | Registration page shows role selection | ✅ PASS | All assertions met | All assertions met
TC-S027 | Submit Button on Register | Web | UI/UX | 'Create Account' or 'Register' button present | ✅ PASS | All assertions met | All assertions met
TC-S028 | Back to Login on Register | Web | UI/UX | A link back to login page exists on registration | ✅ PASS | All assertions met | All assertions met
TC-S029 | Registration Form Not Crashed | Web | Functional | Registration page does not show crash/error | ✅ PASS | All assertions met | All assertions met
TC-S030 | Page Scroll on Register | Web | UI/UX | Registration page is scrollable without JS error | ✅ PASS | All assertions met | All assertions met
TC-S031 | Base URL Resolves | Web | Functional | Base URL resolves without redirect loop | ✅ PASS | All assertions met | All assertions met
TC-S032 | Browser Back Button Works | Web | Functional | Browser back button does not crash the app | ✅ PASS | All assertions met | All assertions met
TC-S033 | Browser Forward Works | Web | Functional | Browser forward button does not crash the app | ✅ PASS | All assertions met | All assertions met
TC-S034 | Refresh No Crash | Web | Functional | Page refresh does not crash the SPA | ✅ PASS | All assertions met | All assertions met
TC-S035 | 404 Route Graceful | Web | Functional | Navigating to non-existent route shows SPA (not raw 404) | ✅ PASS | All assertions met | All assertions met
TC-S036 | Direct URL Access Works | Web | Functional | Directly accessing the URL works | ✅ PASS | All assertions met | All assertions met
TC-S037 | Window Resize No Crash | Web | UI/UX | Resizing browser window does not crash the app | ✅ PASS | All assertions met | All assertions met
TC-S038 | Mobile Viewport Valid | Web | UI/UX | App renders without horizontal scroll on mobile | ✅ PASS | All assertions met | All assertions met
TC-S039 | Tablet Viewport Renders | Web | UI/UX | App renders on iPad-sized viewport | ✅ PASS | All assertions met | All assertions met
TC-S040 | URL No Unexpected Redirect | Web | Functional | Idle on home page doesn't auto-redirect | ✅ PASS | All assertions met | All assertions met
TC-S041 | Dashboard Route Accessible | Web | UI/UX | Dashboard route is accessible | ✅ PASS | All assertions met | All assertions met
TC-S042 | Dashboard No Error State | Web | UI/UX | Dashboard page does not show error messages on load | ✅ PASS | All assertions met | All assertions met
TC-S043 | Stat Cards Visible | Web | UI/UX | Dashboard shows stats (reports, codes, or similar) | ✅ PASS | All assertions met | All assertions met
TC-S044 | Dashboard Header Visible | Web | UI/UX | A navigation header or app bar is present | ✅ PASS | All assertions met | All assertions met
TC-S045 | No Broken Images | Web | UI/UX | No broken image elements | ✅ PASS | All assertions met | All assertions met
TC-S046 | Tab Bar or Bottom Nav | Web | UI/UX | Bottom navigation / tab bar is visible | ✅ PASS | All assertions met | All assertions met
TC-S047 | Greeting Message Present | Web | UI/UX | A greeting or welcome message is visible | ✅ PASS | All assertions met | All assertions met
TC-S048 | Page Scrollable | Web | UI/UX | Dashboard content is scrollable without JS crash | ✅ PASS | All assertions met | All assertions met
TC-S049 | Recent Reports Section | Web | UI/UX | Recent reports or history section visible | ✅ PASS | All assertions met | All assertions met
TC-S050 | Logout Option Accessible | Web | UI/UX | Logout button or option is reachable | ✅ PASS | All assertions met | All assertions met
TC-S051 | Upload Route Accessible | Web | Functional | Upload screen route is accessible | ✅ PASS | All assertions met | All assertions met
TC-S052 | File Picker Present | Web | UI/UX | A file selection area or drag-and-drop zone is visible | ✅ PASS | All assertions met | All assertions met
TC-S053 | Report Type Selector Present | Web | UI/UX | Report type selection options are visible | ✅ PASS | All assertions met | All assertions met
TC-S054 | Analyse Button Present | Web | UI/UX | 'Analyse with AI' button is visible | ✅ PASS | All assertions met | All assertions met
TC-S055 | Supported Formats Info | Web | UI/UX | Info about supported file formats visible | ✅ PASS | All assertions met | All assertions met
TC-S056 | Upload Not Crashed | Web | Functional | Upload screen does not show error/crash state | ✅ PASS | All assertions met | All assertions met
TC-S057 | Upload Screen Has Title | Web | UI/UX | Upload screen has a section title or heading | ✅ PASS | All assertions met | All assertions met
TC-S058 | Report Type Auto Present | Web | UI/UX | 'Auto' report type option visible | ✅ PASS | All assertions met | All assertions met
TC-S059 | Instructions Visible | Web | UI/UX | Helper text describing how to use upload visible | ✅ PASS | All assertions met | All assertions met
TC-S060 | Upload Responsive on Mobile | Web | UI/UX | Upload page layout is valid on mobile viewport | ✅ PASS | All assertions met | All assertions met
TC-S061 | HTML5 Doctype Used | Web | Accessibility | Page uses HTML5 doctype | ✅ PASS | All assertions met | All assertions met
TC-S062 | Images Have Alt Text | Web | Accessibility | All <img> elements have an alt attribute | ✅ PASS | All assertions met | All assertions met
TC-S063 | Buttons Keyboard Focusable | Web | Accessibility | Buttons/interactive elements are keyboard-accessible | ✅ PASS | All assertions met | All assertions met
TC-S064 | No Inline Styles Blocking | Web | Accessibility | Page text is visible (not hidden) | ✅ PASS | All assertions met | All assertions met
TC-S065 | Page Has Proper Structure | Web | Accessibility | Page DOM has expected structural elements | ✅ PASS | All assertions met | All assertions met
TC-S066 | Colour Contrast Basic | Web | Accessibility | Page background is not the same as text color | ✅ PASS | All assertions met | All assertions met
TC-S067 | Form Labels Present | Web | Accessibility | Input fields have associated labels or placeholder | ✅ PASS | All assertions met | All assertions met
TC-S068 | Tab Key No Crash | Web | Accessibility | Pressing Tab key through page does not throw JS error | ✅ PASS | All assertions met | All assertions met
TC-S069 | Escape Key No Crash | Web | Accessibility | Pressing Escape key does not crash the app | ✅ PASS | All assertions met | All assertions met
TC-S070 | Page Title Length Reasonable | Web | Accessibility | Page title is not more than 70 chars (SEO) | ✅ PASS | All assertions met | All assertions met
TC-S071 | Page Load Under 10s | Web | Performance | Full page load (with JS execution) under 10 seconds | ✅ PASS | All assertions met | All assertions met
TC-S072 | DOM Content Loaded Fires | Web | Performance | DOMContentLoaded event fires | ✅ PASS | All assertions met | All assertions met
TC-S073 | No Infinite Redirect | Web | Performance | Page does not cause infinite redirect loops | ✅ PASS | All assertions met | All assertions met
TC-S074 | Assets Not Blocked by CORS | Web | Security | Main page assets load without CORS errors | ✅ PASS | All assertions met | All assertions met
TC-S075 | No API Keys Leaked | Web | Security | Page source does not expose raw API keys or secrets | ✅ PASS | All assertions met | All assertions met
TC-S076 | Source Not Minification Error | Web | Functional | Page source does not contain minification errors | ✅ PASS | All assertions met | All assertions met
TC-S077 | CDN Not Required | Web | Functional | Page renders even if external CDN is unavailable | ✅ PASS | All assertions met | All assertions met
TC-S078 | Scroll No Layout Shift | Web | Performance | Scrolling page does not cause layout reflow errors | ✅ PASS | All assertions met | All assertions met
TC-S079 | History Length Reasonable | Web | Performance | Browser history doesn't grow excessively | ✅ PASS | All assertions met | All assertions met
TC-S080 | Cookies Have Attributes | Web | Security | If cookies are set, they have SameSite attribute | ✅ PASS | All assertions met | All assertions met
TC-F001 | Full Registration Flow | Functional | Functional | Register a new user end-to-end registration | ✅ PASS | All assertions met | All assertions met
TC-F002 | Login After Registration | Functional | Functional | Login immediately after registration returns valid token | ✅ PASS | All assertions met | All assertions met
TC-F003 | Token Access Protected EP | Functional | Security | JWT token grants access to /auth/me | ✅ PASS | All assertions met | All assertions met
TC-F004 | Profile Matches Registration | Functional | Functional | Profile from /auth/me matches registration data | ✅ PASS | All assertions met | All assertions met
TC-F005 | Update Profile Then Verify | Functional | Functional | Update profile → GET reflects changes | ✅ PASS | All assertions met | All assertions met
TC-F006 | Multi Field Update Atomic | Functional | Functional | Updating multiple profile fields in one PUT succeeds | ✅ PASS | All assertions met | All assertions met
TC-F007 | Login Has User ID and Email | Functional | Functional | Login response contains user.id and user.email | ✅ PASS | All assertions met | All assertions met
TC-F008 | Token Type Is Bearer | Functional | Functional | Token type returned is 'bearer' | ✅ PASS | All assertions met | All assertions met
TC-F009 | Multi Login No Lock | Functional | Functional | Same user can login multiple times | ✅ PASS | All assertions met | All assertions met
TC-F010 | Old Token Still Works | Functional | Security | Existing JWT still works after new login | ✅ PASS | All assertions met | All assertions met
TC-F011 | PDF Upload Returns 200 | Functional | Functional | Authenticated PDF upload returns 200/201/202 | ✅ PASS | All assertions met | All assertions met
TC-F012 | TXT Upload Returns 200 | Functional | Functional | Authenticated TXT upload returns 200/201/202 | ✅ PASS | All assertions met | All assertions met
TC-F013 | Upload Has Report ID | Functional | Functional | Upload response body contains a report_id or id | ✅ PASS | All assertions met | All assertions met
TC-F014 | History Increases After Upload | Functional | Functional | Reports history count increases after upload | ✅ PASS | All assertions met | All assertions met
TC-F015 | All 6 Report Types Accepted | Functional | Functional | All 6 report types accepted | ✅ PASS | All assertions met | All assertions met
TC-F016 | Upload No Auth Rejected | Functional | Security | Upload without auth header is rejected with 401/403 | ✅ PASS | All assertions met | All assertions met
TC-F017 | Upload Within 60s | Functional | Performance | Upload + AI processing completes within 60 seconds | ✅ PASS | All assertions met | All assertions met
TC-F018 | Results EP After Upload | Functional | Functional | Results endpoint responds after upload | ✅ PASS | All assertions met | All assertions met
TC-F019 | Upload No File Returns Error | Functional | Validation | Upload without file field returns 400/422 | ✅ PASS | All assertions met | All assertions met
TC-F020 | Users Uploads Isolated | Functional | Security | Reports from user A are not visible to user B | ✅ PASS | All assertions met | All assertions met
TC-F021 | Stats Returns Dict | Functional | Functional | Dashboard stats returns a JSON object | ✅ PASS | All assertions met | All assertions met
TC-F022 | Stats Non-Negative | Functional | Functional | All numeric stat values are ≥ 0 | ✅ PASS | All assertions met | All assertions met
TC-F023 | Stats Consistent | Functional | Functional | Calling stats twice returns same values | ✅ PASS | All assertions met | All assertions met
TC-F024 | History Returns List | Functional | Functional | Reports history endpoint returns list or dict | ✅ PASS | All assertions met | All assertions met
TC-F025 | History Limit Param | Functional | Functional | limit=2 returns at most 2 records | ✅ PASS | All assertions met | All assertions met
TC-F026 | Stats No Auth Returns 401 | Functional | Security | Stats endpoint returns 401/403 without token | ✅ PASS | All assertions met | All assertions met
TC-F027 | Alerts Valid Response | Functional | Functional | /reports/alerts returns 200 or 404 (not 500) | ✅ PASS | All assertions met | All assertions met
TC-F028 | User Stats Not 500 | Functional | Functional | /reports/user-stats endpoint does not return 500 | ✅ PASS | All assertions met | All assertions met
TC-F029 | Concurrent Dashboard Requests | Functional | Performance | 5 concurrent dashboard stats requests succeed | ✅ PASS | All assertions met | All assertions met
TC-F030 | Stats Response Time | Functional | Performance | Dashboard stats responds within 3 seconds | ✅ PASS | All assertions met | All assertions met
TC-F031 | Pending Reviews Accessible | Functional | Functional | /reviews/pending returns 200 or 404 | ✅ PASS | All assertions met | All assertions met
TC-F032 | Approve Nonexistent 404 | Functional | Validation | Approving non-existent review returns 404/422 | ✅ PASS | All assertions met | All assertions met
TC-F033 | Reject Nonexistent 404 | Functional | Validation | Rejecting non-existent review returns 404/422 | ✅ PASS | All assertions met | All assertions met
TC-F034 | Reviews Requires Auth | Functional | Security | /reviews/pending without token returns 401/403 | ✅ PASS | All assertions met | All assertions met
TC-F035 | Results Fake Report 404 | Functional | Validation | Fetching results for fake report ID returns 404 | ✅ PASS | All assertions met | All assertions met
TC-F036 | Flag Fake Report 404 | Functional | Validation | Flagging a non-existent report returns 404 | ✅ PASS | All assertions met | All assertions met
TC-F037 | Two Users Review Isolation | Functional | Security | User A's reviews are not visible to User B | ✅ PASS | All assertions met | All assertions met
TC-F038 | Review Response Is JSON | Functional | Functional | Reviews endpoint returns JSON content-type | ✅ PASS | All assertions met | All assertions met
TC-F039 | Report Flag Not 500 | Functional | Functional | Flag endpoint never returns 500 | ✅ PASS | All assertions met | All assertions met
TC-F040 | Approve Reject Not 500 | Functional | Functional | Approve/reject endpoints don't crash the server | ✅ PASS | All assertions met | All assertions met
TC-F041 | AI Assistant Reachable | Functional | Functional | AI assistant /assistant/chat is reachable | ✅ PASS | All assertions met | All assertions met
TC-F042 | AI Empty Message Rejected | Functional | Validation | AI assistant with empty message returns validation error | ✅ PASS | All assertions met | All assertions met
TC-F043 | AI Requires Auth | Functional | Security | AI assistant endpoint rejects requests without auth | ✅ PASS | All assertions met | All assertions met
TC-F044 | Malformed JSON Safe | Functional | Security | Sending malformed JSON doesn't return 500 | ✅ PASS | All assertions met | All assertions met
TC-F045 | 5 Sequential Logins | Functional | Performance | 5 sequential logins for same user all return 200 | ✅ PASS | All assertions met | All assertions met
TC-F046 | Concurrent Registrations | Functional | Performance | 3 concurrent user registrations with unique emails succeed | ✅ PASS | All assertions met | All assertions met
TC-F047 | SQL Injection Register Safe | Functional | Security | SQL injection in email during registration safely rejected | ✅ PASS | All assertions met | All assertions met
TC-F048 | XSS in Name Safe | Functional | Security | XSS payload in name field stored without server crash | ✅ PASS | All assertions met | All assertions met
TC-F049 | Very Long Name Not 500 | Functional | Validation | Registering with a 500-char name handled gracefully | ✅ PASS | All assertions met | All assertions met
TC-F050 | Unicode Name Handled | Functional | Validation | Unicode characters in name field handled without 500 | ✅ PASS | All assertions met | All assertions met

## 🔌 API
🔌 API Tests — 70 cases ¦ ✅ 70 Pass ¦ ❌ 0 Fail
TC ID | Test Name | Type | Description | Status | Details | Remarks
TC-001 | Server Health Check | Functional | Server root returns 200 OK with running message | ✅ PASS | All assertions met | Verified ✅
TC-002 | Database Health Endpoint | Functional | /health returns DB connection status | ✅ PASS | All assertions met | Verified ✅
TC-003 | Register New User | Functional | New user registration returns JWT token with 200 | ✅ PASS | All assertions met | Verified ✅
TC-004 | Duplicate Email Rejected | Validation | Duplicate email registration returns 400 | ✅ PASS | All assertions met | Verified ✅
TC-005 | Register Empty Name | Validation | Empty name in register returns 400/422 | ✅ PASS | All assertions met | Verified ✅
TC-006 | Short Password Rejected | Validation | Password < 6 chars is rejected — not 500 | ✅ PASS | All assertions met | Verified ✅
TC-007 | Valid Login Success | Functional | Valid credentials return access_token | ✅ PASS | All assertions met | Verified ✅
TC-008 | Wrong Password Returns 401 | Security | Wrong password returns 401 Unauthorized | ✅ PASS | All assertions met | Verified ✅
TC-009 | Unknown Email Returns 401 | Security | Non-existent email login returns 401 | ✅ PASS | All assertions met | Verified ✅
TC-010 | Login Returns User Fields | Functional | Login response includes name, email, id | ✅ PASS | All assertions met | Verified ✅
TC-011 | Get Profile Authenticated | Functional | GET /auth/me with valid token returns user profile | ✅ PASS | All assertions met | Verified ✅
TC-012 | Get Profile No Token | Security | GET /auth/me without token returns 401/403 | ✅ PASS | All assertions met | Verified ✅
TC-013 | Get Profile Invalid Token | Security | GET /auth/me with garbage token returns 401 | ✅ PASS | All assertions met | Verified ✅
TC-014 | Update Profile Name | Functional | PUT /auth/me updates user name field | ✅ PASS | All assertions met | Verified ✅
TC-015 | Update Organization | Functional | Profile update with organization field succeeds | ✅ PASS | All assertions met | Verified ✅
TC-016 | Update Role Field | Functional | Profile update with role = Medical Coder succeeds | ✅ PASS | All assertions met | Verified ✅
TC-017 | Update Department | Functional | Profile update with department field succeeds | ✅ PASS | All assertions met | Verified ✅
TC-018 | Update Multiple Fields | Functional | Profile update with multiple fields at once succeeds | ✅ PASS | All assertions met | Verified ✅
TC-019 | Update Empty Body | Validation | PUT with empty body returns success | ✅ PASS | All assertions met | Verified ✅
TC-020 | Forgot Password Unknown | Validation | Forgot-password with unknown email returns 404 | ✅ PASS | All assertions met | Verified ✅
TC-021 | Upload Without Token | Security | Upload without auth token returns 401/403 | ✅ PASS | All assertions met | Verified ✅
TC-022 | Upload Valid PDF | Functional | Authenticated PDF upload returns 200 and report_id | ✅ PASS | All assertions met | Verified ✅
TC-023 | Upload TXT Report | Functional | Upload .txt discharge summary returns 200 | ✅ PASS | All assertions met | Verified ✅
TC-024 | Upload Report Type Radiology | Functional | Upload with report_type=radiology accepted | ✅ PASS | All assertions met | Verified ✅
TC-025 | Upload No File Error | Validation | Upload without file attached returns 400/422 | ✅ PASS | All assertions met | Verified ✅
TC-026 | Upload Wrong MIME Type | Validation | Uploading PNG file is handled gracefully — not 500 | ✅ PASS | All assertions met | Verified ✅
TC-027 | Upload Response Has ID | Functional | Upload response body contains report_id or id | ✅ PASS | All assertions met | Verified ✅
TC-028 | Upload Response Time | Performance | Upload + processing completes within 60 seconds | ✅ PASS | All assertions met | Verified ✅
TC-029 | Upload OPD Report Type | Functional | Upload with report_type=opd is accepted | ✅ PASS | All assertions met | Verified ✅
TC-030 | Upload Operative Notes | Functional | Operative notes upload is accepted | ✅ PASS | All assertions met | Verified ✅
TC-031 | Dashboard Stats Auth | Functional | Dashboard stats endpoint returns 200 for authenticated user | ✅ PASS | All assertions met | Verified ✅
TC-032 | Stats Required Keys | Functional | Dashboard stats includes expected keys | ✅ PASS | All assertions met | Verified ✅
TC-033 | Stats Unauthenticated | Security | Dashboard stats without token returns 401/403 | ✅ PASS | All assertions met | Verified ✅
TC-034 | Reports History List | Functional | /reports/history returns a list or dict | ✅ PASS | All assertions met | Verified ✅
TC-035 | History Limit Respected | Functional | History with limit=3 returns at most 3 records | ✅ PASS | All assertions met | Verified ✅
TC-036 | Alerts Endpoint | Functional | /reports/alerts returns 200 or 404 | ✅ PASS | All assertions met | Verified ✅
TC-037 | User Stats Endpoint | Functional | /reports/user-stats endpoint accessible | ✅ PASS | All assertions met | Verified ✅
TC-038 | Stats Not 500 | Functional | Stats endpoint never returns 500 | ✅ PASS | All assertions met | Verified ✅
TC-039 | History Without Token | Security | History endpoint without token returns 401 | ✅ PASS | All assertions met | Verified ✅
TC-040 | Concurrent Stats Requests | Performance | 3 simultaneous stats requests all return 200 | ✅ PASS | All assertions met | Verified ✅
TC-041 | SQL Injection Email | Security | SQL injection in email field safely rejected | ✅ PASS | All assertions met | Verified ✅
TC-042 | SQL Injection Password | Security | SQL injection in password safely handled | ✅ PASS | All assertions met | Verified ✅
TC-043 | XSS in Profile Name | Security | XSS payload in name stored safely — not 500 | ✅ PASS | All assertions met | Verified ✅
TC-044 | Very Long Email | Validation | 300-char email string handled safely — not 500 | ✅ PASS | All assertions met | Verified ✅
TC-045 | Empty Login Payload | Validation | Empty JSON body on login returns 422 | ✅ PASS | All assertions met | Verified ✅
TC-046 | Login No Password | Validation | Login without password field returns 422 | ✅ PASS | All assertions met | Verified ✅
TC-047 | Login No Email | Validation | Login without email field returns 422 | ✅ PASS | All assertions met | Verified ✅
TC-048 | Token Not In Header | Security | JWT token not exposed in response headers | ✅ PASS | All assertions met | Verified ✅
TC-049 | Form Data Instead of JSON | Validation | Form-data instead of JSON to login returns error | ✅ PASS | All assertions met | Verified ✅
TC-050 | Response Content Type JSON | Functional | API responses have Content-Type: application/json | ✅ PASS | All assertions met | Verified ✅
TC-111 | Root API Message | Deployability | Root / returns running message | ✅ PASS | All assertions met | Verified ✅
TC-112 | Health Check Status OK | Deployability | Health check indicates deployable state | ✅ PASS | All assertions met | Verified ✅
TC-113 | Server Response < 2s | Performance | Root endpoint responds in under 2 seconds | ✅ PASS | All assertions met | Verified ✅
TC-114 | Register Response Shape | Functional | Register response has access_token, token_type, user | ✅ PASS | All assertions met | Verified ✅
TC-115 | Token Type is Bearer | Functional | Login token_type is 'bearer' | ✅ PASS | All assertions met | Verified ✅
TC-116 | CORS Headers Present | Functional | CORS allow-origin header present | ✅ PASS | All assertions met | Verified ✅
TC-117 | 422 Has Validation Key | Validation | 422 responses include validation detail key | ✅ PASS | All assertions met | Verified ✅
TC-118 | User Has ID and Email | Functional | Registered user object contains id and email | ✅ PASS | All assertions met | Verified ✅
TC-119 | Login 200 for Valid User | Functional | Valid credentials login returns 200 OK | ✅ PASS | All assertions met | Verified ✅
TC-120 | Update Returns User Object | Functional | Profile update response includes updated user object | ✅ PASS | All assertions met | Verified ✅
TC-121 | Pending Reviews Accessible | Functional | /reviews/pending endpoint returns 200 or 404 | ✅ PASS | All assertions met | Verified ✅
TC-122 | Reviews Not 500 | Functional | /reviews/pending never returns 500 | ✅ PASS | All assertions met | Verified ✅
TC-123 | Approve Nonexistent Review | Validation | Approving non-existent review ID returns 404/422 | ✅ PASS | All assertions met | Verified ✅
TC-124 | Reject Nonexistent Review | Validation | Rejecting non-existent review ID returns 404/422 | ✅ PASS | All assertions met | Verified ✅
TC-125 | AI Assistant Reachable | Functional | AI assistant /assistant/chat endpoint is reachable | ✅ PASS | All assertions met | Verified ✅
TC-126 | Assistant Empty Message | Validation | AI assistant with empty message returns validation error | ✅ PASS | All assertions met | Verified ✅
TC-127 | Results Nonexistent Report | Validation | Fetching results for non-existent report ID returns 404 | ✅ PASS | All assertions met | Verified ✅
TC-128 | Flag Nonexistent Report | Validation | Flagging a non-existent report returns 404 | ✅ PASS | All assertions met | Verified ✅
TC-129 | Malformed JSON No 500 | Security | Malformed JSON body doesn't crash server — never 500 | ✅ PASS | All assertions met | Verified ✅
TC-130 | 5 Sequential Logins | Performance | 5 sequential logins for same user all return 200 | ✅ PASS | All assertions met | Verified ✅

## ⚙️ Functional
⚙️ Functional Tests — 50 cases ¦ ✅ 50 Pass ¦ ❌ 0 Fail
TC ID | Test Name | Type | Description | Status | Details | Remarks
TC-F001 | Full Registration Flow | Functional | Register a new user end-to-end registration | ✅ PASS | All assertions met | Verified ✅
TC-F002 | Login After Registration | Functional | Login immediately after registration returns valid token | ✅ PASS | All assertions met | Verified ✅
TC-F003 | Token Access Protected EP | Security | JWT token grants access to /auth/me | ✅ PASS | All assertions met | Verified ✅
TC-F004 | Profile Matches Registration | Functional | Profile from /auth/me matches registration data | ✅ PASS | All assertions met | Verified ✅
TC-F005 | Update Profile Then Verify | Functional | Update profile → GET reflects changes | ✅ PASS | All assertions met | Verified ✅
TC-F006 | Multi Field Update Atomic | Functional | Updating multiple profile fields in one PUT succeeds | ✅ PASS | All assertions met | Verified ✅
TC-F007 | Login Has User ID and Email | Functional | Login response contains user.id and user.email | ✅ PASS | All assertions met | Verified ✅
TC-F008 | Token Type Is Bearer | Functional | Token type returned is 'bearer' | ✅ PASS | All assertions met | Verified ✅
TC-F009 | Multi Login No Lock | Functional | Same user can login multiple times | ✅ PASS | All assertions met | Verified ✅
TC-F010 | Old Token Still Works | Security | Existing JWT still works after new login | ✅ PASS | All assertions met | Verified ✅
TC-F011 | PDF Upload Returns 200 | Functional | Authenticated PDF upload returns 200/201/202 | ✅ PASS | All assertions met | Verified ✅
TC-F012 | TXT Upload Returns 200 | Functional | Authenticated TXT upload returns 200/201/202 | ✅ PASS | All assertions met | Verified ✅
TC-F013 | Upload Has Report ID | Functional | Upload response body contains a report_id or id | ✅ PASS | All assertions met | Verified ✅
TC-F014 | History Increases After Upload | Functional | Reports history count increases after upload | ✅ PASS | All assertions met | Verified ✅
TC-F015 | All 6 Report Types Accepted | Functional | All 6 report types accepted | ✅ PASS | All assertions met | Verified ✅
TC-F016 | Upload No Auth Rejected | Security | Upload without auth header is rejected with 401/403 | ✅ PASS | All assertions met | Verified ✅
TC-F017 | Upload Within 60s | Performance | Upload + AI processing completes within 60 seconds | ✅ PASS | All assertions met | Verified ✅
TC-F018 | Results EP After Upload | Functional | Results endpoint responds after upload | ✅ PASS | All assertions met | Verified ✅
TC-F019 | Upload No File Returns Error | Validation | Upload without file field returns 400/422 | ✅ PASS | All assertions met | Verified ✅
TC-F020 | Users Uploads Isolated | Security | Reports from user A are not visible to user B | ✅ PASS | All assertions met | Verified ✅
TC-F021 | Stats Returns Dict | Functional | Dashboard stats returns a JSON object | ✅ PASS | All assertions met | Verified ✅
TC-F022 | Stats Non-Negative | Functional | All numeric stat values are ≥ 0 | ✅ PASS | All assertions met | Verified ✅
TC-F023 | Stats Consistent | Functional | Calling stats twice returns same values | ✅ PASS | All assertions met | Verified ✅
TC-F024 | History Returns List | Functional | Reports history endpoint returns list or dict | ✅ PASS | All assertions met | Verified ✅
TC-F025 | History Limit Param | Functional | limit=2 returns at most 2 records | ✅ PASS | All assertions met | Verified ✅
TC-F026 | Stats No Auth Returns 401 | Security | Stats endpoint returns 401/403 without token | ✅ PASS | All assertions met | Verified ✅
TC-F027 | Alerts Valid Response | Functional | /reports/alerts returns 200 or 404 (not 500) | ✅ PASS | All assertions met | Verified ✅
TC-F028 | User Stats Not 500 | Functional | /reports/user-stats endpoint does not return 500 | ✅ PASS | All assertions met | Verified ✅
TC-F029 | Concurrent Dashboard Requests | Performance | 5 concurrent dashboard stats requests succeed | ✅ PASS | All assertions met | Verified ✅
TC-F030 | Stats Response Time | Performance | Dashboard stats responds within 3 seconds | ✅ PASS | All assertions met | Verified ✅
TC-F031 | Pending Reviews Accessible | Functional | /reviews/pending returns 200 or 404 | ✅ PASS | All assertions met | Verified ✅
TC-F032 | Approve Nonexistent 404 | Validation | Approving non-existent review returns 404/422 | ✅ PASS | All assertions met | Verified ✅
TC-F033 | Reject Nonexistent 404 | Validation | Rejecting non-existent review returns 404/422 | ✅ PASS | All assertions met | Verified ✅
TC-F034 | Reviews Requires Auth | Security | /reviews/pending without token returns 401/403 | ✅ PASS | All assertions met | Verified ✅
TC-F035 | Results Fake Report 404 | Validation | Fetching results for fake report ID returns 404 | ✅ PASS | All assertions met | Verified ✅
TC-F036 | Flag Fake Report 404 | Validation | Flagging a non-existent report returns 404 | ✅ PASS | All assertions met | Verified ✅
TC-F037 | Two Users Review Isolation | Security | User A's reviews are not visible to User B | ✅ PASS | All assertions met | Verified ✅
TC-F038 | Review Response Is JSON | Functional | Reviews endpoint returns JSON content-type | ✅ PASS | All assertions met | Verified ✅
TC-F039 | Report Flag Not 500 | Functional | Flag endpoint never returns 500 | ✅ PASS | All assertions met | Verified ✅
TC-F040 | Approve Reject Not 500 | Functional | Approve/reject endpoints don't crash the server | ✅ PASS | All assertions met | Verified ✅
TC-F041 | AI Assistant Reachable | Functional | AI assistant /assistant/chat is reachable | ✅ PASS | All assertions met | Verified ✅
TC-F042 | AI Empty Message Rejected | Validation | AI assistant with empty message returns validation error | ✅ PASS | All assertions met | Verified ✅
TC-F043 | AI Requires Auth | Security | AI assistant endpoint rejects requests without auth | ✅ PASS | All assertions met | Verified ✅
TC-F044 | Malformed JSON Safe | Security | Sending malformed JSON doesn't return 500 | ✅ PASS | All assertions met | Verified ✅
TC-F045 | 5 Sequential Logins | Performance | 5 sequential logins for same user all return 200 | ✅ PASS | All assertions met | Verified ✅
TC-F046 | Concurrent Registrations | Performance | 3 concurrent user registrations with unique emails succeed | ✅ PASS | All assertions met | Verified ✅
TC-F047 | SQL Injection Register Safe | Security | SQL injection in email during registration safely rejected | ✅ PASS | All assertions met | Verified ✅
TC-F048 | XSS in Name Safe | Security | XSS payload in name field stored without server crash | ✅ PASS | All assertions met | Verified ✅
TC-F049 | Very Long Name Not 500 | Validation | Registering with a 500-char name handled gracefully | ✅ PASS | All assertions met | Verified ✅
TC-F050 | Unicode Name Handled | Validation | Unicode characters in name field handled without 500 | ✅ PASS | All assertions met | Verified ✅

## 📱 Mobile
📱 Mobile Tests — 30 cases ¦ ✅ 19 Pass ¦ ❌ 0 Fail
TC ID | Test Name | Type | Description | Status | Details | Remarks
TC-081 | App Launches Successfully | UI/UX | App launches without crash and shows initial screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-082 | Splash or Login Visible | UI/UX | After launch, splash or login screen is visible | ✅ PASS | All assertions met | Verified ✅
TC-083 | Email Input Present | UI/UX | Login screen has an Email input field | ✅ PASS | All assertions met | Verified ✅
TC-084 | Password Input Present | UI/UX | Login screen has at least 2 input fields | ✅ PASS | All assertions met | Verified ✅
TC-085 | Empty Login Alert | Validation | Tapping Login with empty fields shows alert | ✅ PASS | All assertions met | Verified ✅
TC-086 | Email Field Accepts Text | UI/UX | Email field accepts text input | ✅ PASS | All assertions met | Verified ✅
TC-087 | Password Field Accepts Text | UI/UX | Password field accepts text input | ✅ PASS | All assertions met | Verified ✅
TC-088 | Forgot Password Link | UI/UX | Forgot Password? text visible on login screen | ✅ PASS | All assertions met | Verified ✅
TC-089 | Sign Up Link Visible | UI/UX | Sign Up link is visible | ✅ PASS | All assertions met | Verified ✅
TC-090 | Login Button Tappable | UI/UX | Login button exists and is tappable | ✅ PASS | All assertions met | Verified ✅
TC-091 | Navigate to Signup | Functional | Tapping Sign Up navigates to Signup screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-092 | Signup Name Field | UI/UX | Signup screen has a Full Name field | ✅ PASS | All assertions met | Verified ✅
TC-093 | Password Mismatch Alert | Validation | Signup with mismatched passwords shows alert | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-094 | Role Selection Visible | UI/UX | Role selection options are visible on signup | ✅ PASS | All assertions met | Verified ✅
TC-095 | Back to Login | Functional | Back navigation returns to login screen | ✅ PASS | All assertions met | Verified ✅
TC-096 | Dashboard Tab Bar Visible | UI/UX | After login, bottom tab bar visible | ✅ PASS | All assertions met | Verified ✅
TC-097 | Upload Tab Navigation | Functional | Tapping Upload tab navigates to Upload screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-098 | Alerts Tab Navigation | Functional | Tapping Alerts tab navigates to Alerts screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-099 | Profile Tab Navigation | Functional | Tapping Profile tab navigates to Profile screen | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-100 | Back Press No Crash | Functional | Back button press does not crash the app | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-101 | Upload Dropzone Present | UI/UX | Upload screen shows file drop zone | ✅ PASS | All assertions met | Verified ✅
TC-102 | Report Type Chips Visible | UI/UX | Report type selection chips are visible | ✅ PASS | All assertions met | Verified ✅
TC-103 | Analyse Button Visible | UI/UX | Analyse with AI button is visible | ✅ PASS | All assertions met | Verified ✅
TC-104 | Analyse No File Alert | Validation | Tapping Analyse without file shows No file alert | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-105 | Info Box Text Visible | UI/UX | Info box about AI analysis visible | ✅ PASS | All assertions met | Verified ✅
TC-106 | Results Codes Found | Functional | Results screen shows Codes found summary pill | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-107 | Dashboard Reports Today | UI/UX | Dashboard shows Reports today stat card | ✅ PASS | All assertions met | Verified ✅
TC-108 | Dashboard Codes Found | UI/UX | Dashboard shows Codes found stat card | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭
TC-109 | Logout Button Accessible | UI/UX | Logout icon is accessible from Dashboard | ✅ PASS | All assertions met | Verified ✅
TC-110 | Scroll No Crash | Functional | Scrolling the dashboard does not crash the app | ⏭ SKIP | Test not found in JUnit output — possibly skipped | Skipped ⏭

## 🧩 Unit
🧩 Unit Tests — 30 cases ¦ ✅ 30 Pass ¦ ❌ 0 Fail
TC ID | Test Name | Type | Description | Status | Details | Remarks
TC-051 | MIME .pdf Maps Correctly | Unit | .pdf extension maps to application/pdf | ✅ PASS | All assertions met | Verified ✅
TC-052 | MIME .docx Maps Correctly | Unit | .docx maps to wordprocessingml MIME type | ✅ PASS | All assertions met | Verified ✅
TC-053 | MIME .doc Maps Correctly | Unit | .doc maps to application/msword | ✅ PASS | All assertions met | Verified ✅
TC-054 | MIME .txt Maps Correctly | Unit | .txt maps to text/plain | ✅ PASS | All assertions met | Verified ✅
TC-055 | MIME Unknown Defaults | Unit | Unknown extension defaults to application/pdf | ✅ PASS | All assertions met | Verified ✅
TC-056 | MIME Uppercase Handled | Unit | Uppercase .PDF extension maps correctly | ✅ PASS | All assertions met | Verified ✅
TC-057 | MIME No Extension | Unit | Filename with no extension defaults to PDF | ✅ PASS | All assertions met | Verified ✅
TC-058 | MIME Multiple Dots | Unit | File with multiple dots uses last segment | ✅ PASS | All assertions met | Verified ✅
TC-059 | MIME Empty Filename | Unit | Empty filename defaults to PDF mime | ✅ PASS | All assertions met | Verified ✅
TC-060 | MIME TXT Not PDF | Unit | .txt MIME is not application/pdf | ✅ PASS | All assertions met | Verified ✅
TC-061 | Password Same Hash | Unit | Same password always produces same SHA-256 hash | ✅ PASS | All assertions met | Verified ✅
TC-062 | Password Different Hashes | Unit | Different passwords produce different hashes | ✅ PASS | All assertions met | Verified ✅
TC-063 | Hash Is 64 Char Hex | Unit | SHA-256 hash is always 64 hex characters | ✅ PASS | All assertions met | Verified ✅
TC-064 | Hash Case Sensitive | Unit | Password hashing is case-sensitive | ✅ PASS | All assertions met | Verified ✅
TC-065 | Empty Password Hash Valid | Unit | Empty string password produces valid 64-char hash | ✅ PASS | All assertions met | Verified ✅
TC-066 | File Size Under 1MB = KB | Unit | File under 1 MB is displayed in KB | ✅ PASS | All assertions met | Verified ✅
TC-067 | File Size Over 1MB = MB | Unit | File over 1 MB is displayed in MB | ✅ PASS | All assertions met | Verified ✅
TC-068 | File Size Exactly 1MB | Unit | Exactly 1 MB + 1 byte shown as MB | ✅ PASS | All assertions met | Verified ✅
TC-069 | File Size 0 Bytes | Unit | Zero-byte file returns '0 KB' | ✅ PASS | All assertions met | Verified ✅
TC-070 | File Size 1KB | Unit | 1024 byte file shows as 1 KB | ✅ PASS | All assertions met | Verified ✅
TC-071 | ICD-10 Code I10 Valid | Unit | I10 matches ICD-10 regex pattern | ✅ PASS | All assertions met | Verified ✅
TC-072 | ICD-10 Code E11.9 Valid | Unit | E11.9 matches ICD-10 pattern | ✅ PASS | All assertions met | Verified ✅
TC-073 | ICD-10 Lowercase Invalid | Unit | Lowercase icd code fails ICD-10 pattern | ✅ PASS | All assertions met | Verified ✅
TC-074 | CPT 5-Digit Valid | Unit | 93000 matches CPT 5-digit pattern | ✅ PASS | All assertions met | Verified ✅
TC-075 | CPT 4-Digit Invalid | Unit | 4-digit CPT code fails pattern | ✅ PASS | All assertions met | Verified ✅
TC-076 | Greeting Hour 0 | Unit | Hour 0 returns 'Good morning' | ✅ PASS | All assertions met | Verified ✅
TC-077 | Greeting Hour 11 | Unit | Hour 11 returns 'Good morning' | ✅ PASS | All assertions met | Verified ✅
TC-078 | Greeting Hour 12 | Unit | Hour 12 returns 'Good afternoon' | ✅ PASS | All assertions met | Verified ✅
TC-079 | Greeting Hour 16 | Unit | Hour 16 returns 'Good afternoon' | ✅ PASS | All assertions met | Verified ✅
TC-080 | Greeting Hour 17 | Unit | Hour 17 returns 'Good evening' | ✅ PASS | All assertions met | Verified ✅

## 🌐 Web
🌐 Web Tests — 80 cases ¦ ✅ 80 Pass ¦ ❌ 0 Fail
TC ID | Test Name | Type | Description | Status | Details | Remarks
TC-S001 | Site Loads Successfully | UI/UX | Navigating to base URL does not throw an error | ✅ PASS | All assertions met | Verified ✅
TC-S002 | Page Title Not Empty | UI/UX | The HTML <title> tag is present and non-empty | ✅ PASS | All assertions met | Verified ✅
TC-S003 | Page Title Contains App Name | UI/UX | Title or page source references the app/brand name | ✅ PASS | All assertions met | Verified ✅
TC-S004 | HTML Lang Attribute Present | Accessibility | <html lang> attribute is present | ✅ PASS | All assertions met | Verified ✅
TC-S005 | Viewport Meta Tag Present | UI/UX | <meta name=viewport> present for mobile responsiveness | ✅ PASS | All assertions met | Verified ✅
TC-S006 | No JS Errors on Load | Functional | Browser console has no critical JS errors on load | ✅ PASS | All assertions met | Verified ✅
TC-S007 | Page Responds Within 5s | Performance | Page fully loads within 5 seconds | ✅ PASS | All assertions met | Verified ✅
TC-S008 | Root Element Present | UI/UX | A root container element exists in the DOM | ✅ PASS | All assertions met | Verified ✅
TC-S009 | Page Has Meaningful Content | UI/UX | Page renders more than boilerplate — has visible text | ✅ PASS | All assertions met | Verified ✅
TC-S010 | No 404 or 500 Error Page | Functional | Page does not display 404/500 error text | ✅ PASS | All assertions met | Verified ✅
TC-S011 | Login Screen Visible | UI/UX | After load, login or authentication screen is visible | ✅ PASS | All assertions met | Verified ✅
TC-S012 | Email Input Field Exists | UI/UX | An email / username input field is present | ✅ PASS | All assertions met | Verified ✅
TC-S013 | Password Input Exists | UI/UX | A password input field is present on login screen | ✅ PASS | All assertions met | Verified ✅
TC-S014 | Login Button Visible | UI/UX | A Login/Sign In button is present | ✅ PASS | All assertions met | Verified ✅
TC-S015 | Forgot Password Link | UI/UX | 'Forgot Password' link / text is present | ✅ PASS | All assertions met | Verified ✅
TC-S016 | Signup Link Exists | UI/UX | A 'Sign Up' or 'Create Account' link is present | ✅ PASS | All assertions met | Verified ✅
TC-S017 | Login Form Not 500 | Functional | Login page does not display server error | ✅ PASS | All assertions met | Verified ✅
TC-S018 | Page Renders Within 8s | Performance | Auth screen content visible within 8 seconds | ✅ PASS | All assertions met | Verified ✅
TC-S019 | Logo or Branding Present | UI/UX | App logo or brand name visible on login screen | ✅ PASS | All assertions met | Verified ✅
TC-S020 | No Blank Screen After Load | UI/UX | Screen is not entirely blank after JS execution | ✅ PASS | All assertions met | Verified ✅
TC-S021 | Registration Route Accessible | Functional | Navigating to /register or signup route succeeds | ✅ PASS | All assertions met | Verified ✅
TC-S022 | Registration Page Not 404 | Functional | Registration page does not return 404 | ✅ PASS | All assertions met | Verified ✅
TC-S023 | Name Field on Registration | UI/UX | Registration page has a Full Name field | ✅ PASS | All assertions met | Verified ✅
TC-S024 | Email Field on Registration | UI/UX | Registration page has an Email field | ✅ PASS | All assertions met | Verified ✅
TC-S025 | Password Fields on Register | UI/UX | Registration page has Password fields | ✅ PASS | All assertions met | Verified ✅
TC-S026 | Role Selection on Register | UI/UX | Registration page shows role selection | ✅ PASS | All assertions met | Verified ✅
TC-S027 | Submit Button on Register | UI/UX | 'Create Account' or 'Register' button present | ✅ PASS | All assertions met | Verified ✅
TC-S028 | Back to Login on Register | UI/UX | A link back to login page exists on registration | ✅ PASS | All assertions met | Verified ✅
TC-S029 | Registration Form Not Crashed | Functional | Registration page does not show crash/error | ✅ PASS | All assertions met | Verified ✅
TC-S030 | Page Scroll on Register | UI/UX | Registration page is scrollable without JS error | ✅ PASS | All assertions met | Verified ✅
TC-S031 | Base URL Resolves | Functional | Base URL resolves without redirect loop | ✅ PASS | All assertions met | Verified ✅
TC-S032 | Browser Back Button Works | Functional | Browser back button does not crash the app | ✅ PASS | All assertions met | Verified ✅
TC-S033 | Browser Forward Works | Functional | Browser forward button does not crash the app | ✅ PASS | All assertions met | Verified ✅
TC-S034 | Refresh No Crash | Functional | Page refresh does not crash the SPA | ✅ PASS | All assertions met | Verified ✅
TC-S035 | 404 Route Graceful | Functional | Navigating to non-existent route shows SPA (not raw 404) | ✅ PASS | All assertions met | Verified ✅
TC-S036 | Direct URL Access Works | Functional | Directly accessing the URL works | ✅ PASS | All assertions met | Verified ✅
TC-S037 | Window Resize No Crash | UI/UX | Resizing browser window does not crash the app | ✅ PASS | All assertions met | Verified ✅
TC-S038 | Mobile Viewport Valid | UI/UX | App renders without horizontal scroll on mobile | ✅ PASS | All assertions met | Verified ✅
TC-S039 | Tablet Viewport Renders | UI/UX | App renders on iPad-sized viewport | ✅ PASS | All assertions met | Verified ✅
TC-S040 | URL No Unexpected Redirect | Functional | Idle on home page doesn't auto-redirect | ✅ PASS | All assertions met | Verified ✅
TC-S041 | Dashboard Route Accessible | UI/UX | Dashboard route is accessible | ✅ PASS | All assertions met | Verified ✅
TC-S042 | Dashboard No Error State | UI/UX | Dashboard page does not show error messages on load | ✅ PASS | All assertions met | Verified ✅
TC-S043 | Stat Cards Visible | UI/UX | Dashboard shows stats (reports, codes, or similar) | ✅ PASS | All assertions met | Verified ✅
TC-S044 | Dashboard Header Visible | UI/UX | A navigation header or app bar is present | ✅ PASS | All assertions met | Verified ✅
TC-S045 | No Broken Images | UI/UX | No broken image elements | ✅ PASS | All assertions met | Verified ✅
TC-S046 | Tab Bar or Bottom Nav | UI/UX | Bottom navigation / tab bar is visible | ✅ PASS | All assertions met | Verified ✅
TC-S047 | Greeting Message Present | UI/UX | A greeting or welcome message is visible | ✅ PASS | All assertions met | Verified ✅
TC-S048 | Page Scrollable | UI/UX | Dashboard content is scrollable without JS crash | ✅ PASS | All assertions met | Verified ✅
TC-S049 | Recent Reports Section | UI/UX | Recent reports or history section visible | ✅ PASS | All assertions met | Verified ✅
TC-S050 | Logout Option Accessible | UI/UX | Logout button or option is reachable | ✅ PASS | All assertions met | Verified ✅
TC-S051 | Upload Route Accessible | Functional | Upload screen route is accessible | ✅ PASS | All assertions met | Verified ✅
TC-S052 | File Picker Present | UI/UX | A file selection area or drag-and-drop zone is visible | ✅ PASS | All assertions met | Verified ✅
TC-S053 | Report Type Selector Present | UI/UX | Report type selection options are visible | ✅ PASS | All assertions met | Verified ✅
TC-S054 | Analyse Button Present | UI/UX | 'Analyse with AI' button is visible | ✅ PASS | All assertions met | Verified ✅
TC-S055 | Supported Formats Info | UI/UX | Info about supported file formats visible | ✅ PASS | All assertions met | Verified ✅
TC-S056 | Upload Not Crashed | Functional | Upload screen does not show error/crash state | ✅ PASS | All assertions met | Verified ✅
TC-S057 | Upload Screen Has Title | UI/UX | Upload screen has a section title or heading | ✅ PASS | All assertions met | Verified ✅
TC-S058 | Report Type Auto Present | UI/UX | 'Auto' report type option visible | ✅ PASS | All assertions met | Verified ✅
TC-S059 | Instructions Visible | UI/UX | Helper text describing how to use upload visible | ✅ PASS | All assertions met | Verified ✅
TC-S060 | Upload Responsive on Mobile | UI/UX | Upload page layout is valid on mobile viewport | ✅ PASS | All assertions met | Verified ✅
TC-S061 | HTML5 Doctype Used | Accessibility | Page uses HTML5 doctype | ✅ PASS | All assertions met | Verified ✅
TC-S062 | Images Have Alt Text | Accessibility | All <img> elements have an alt attribute | ✅ PASS | All assertions met | Verified ✅
TC-S063 | Buttons Keyboard Focusable | Accessibility | Buttons/interactive elements are keyboard-accessible | ✅ PASS | All assertions met | Verified ✅
TC-S064 | No Inline Styles Blocking | Accessibility | Page text is visible (not hidden) | ✅ PASS | All assertions met | Verified ✅
TC-S065 | Page Has Proper Structure | Accessibility | Page DOM has expected structural elements | ✅ PASS | All assertions met | Verified ✅
TC-S066 | Colour Contrast Basic | Accessibility | Page background is not the same as text color | ✅ PASS | All assertions met | Verified ✅
TC-S067 | Form Labels Present | Accessibility | Input fields have associated labels or placeholder | ✅ PASS | All assertions met | Verified ✅
TC-S068 | Tab Key No Crash | Accessibility | Pressing Tab key through page does not throw JS error | ✅ PASS | All assertions met | Verified ✅
TC-S069 | Escape Key No Crash | Accessibility | Pressing Escape key does not crash the app | ✅ PASS | All assertions met | Verified ✅
TC-S070 | Page Title Length Reasonable | Accessibility | Page title is not more than 70 chars (SEO) | ✅ PASS | All assertions met | Verified ✅
TC-S071 | Page Load Under 10s | Performance | Full page load (with JS execution) under 10 seconds | ✅ PASS | All assertions met | Verified ✅
TC-S072 | DOM Content Loaded Fires | Performance | DOMContentLoaded event fires | ✅ PASS | All assertions met | Verified ✅
TC-S073 | No Infinite Redirect | Performance | Page does not cause infinite redirect loops | ✅ PASS | All assertions met | Verified ✅
TC-S074 | Assets Not Blocked by CORS | Security | Main page assets load without CORS errors | ✅ PASS | All assertions met | Verified ✅
TC-S075 | No API Keys Leaked | Security | Page source does not expose raw API keys or secrets | ✅ PASS | All assertions met | Verified ✅
TC-S076 | Source Not Minification Error | Functional | Page source does not contain minification errors | ✅ PASS | All assertions met | Verified ✅
TC-S077 | CDN Not Required | Functional | Page renders even if external CDN is unavailable | ✅ PASS | All assertions met | Verified ✅
TC-S078 | Scroll No Layout Shift | Performance | Scrolling page does not cause layout reflow errors | ✅ PASS | All assertions met | Verified ✅
TC-S079 | History Length Reasonable | Performance | Browser history doesn't grow excessively | ✅ PASS | All assertions met | Verified ✅
TC-S080 | Cookies Have Attributes | Security | If cookies are set, they have SameSite attribute | ✅ PASS | All assertions met | Verified ✅

## 🚀 Run Commands
🚀 How to Run — PancreaScan Full Test Suite
1️⃣ SETUP
Install dependencies | pip install -r testing/requirements_test.txt
2️⃣ RUN ALL TESTS (Full Suite)
All tests | cd testing && pytest api/ unit/ selenium_web/ functional/ --tb=short -v --junitxml=reports/master_junit.xml
3️⃣ RUN BY SUITE
API functional tests | pytest testing/api/test_api_functional.py -v --junitxml=testing/reports/api_junit.xml
UI/UX validation tests | pytest testing/api/test_uiux_validation.py -v --junitxml=testing/reports/uiux_junit.xml
Unit tests only | pytest testing/unit/test_unit.py -v --junitxml=testing/reports/unit_junit.xml
Selenium web tests | pytest testing/selenium_web/test_selenium_web.py -v --junitxml=testing/reports/selenium_junit.xml
Functional E2E tests | pytest testing/functional/test_functionality.py -v --junitxml=testing/reports/functional_junit.xml
Appium mobile tests (Node) | cd appium_node && npm install && npm test
4️⃣ GENERATE REPORTS
Full XLSX report | cd testing && python generate_test_report.py
Issues report only | cd testing && python generate_issues_report.py
Security XLSX report | python scripts/generate_security_xlsx.py
5️⃣ ENVIRONMENT VARIABLES
Set API base URL | export API_BASE_URL=http://10.135.142.53:8000
Set Selenium URL | export SELENIUM_BASE_URL=https://tilaksai99.github.io/pddtesting
Set Appium host/port | export APPIUM_HOST=127.0.0.1 && export APPIUM_PORT=4723
6️⃣ GITHUB ACTIONS
Trigger pipeline | git push → master-test-pipeline.yml runs automatically
Download reports | GitHub → Actions → Run → Artifacts → master-test-report.xlsx